NETSO ENERGY

Rooftop Solar RESCO / OPEX Platform

RESIDENTIAL BUILDING — COMPLETE FINANCIAL MODEL

6-Storey Building  |  Chittagong  |  BDT 40,000–60,000/month Bill

Scenario A: Solar Only  vs  Scenario B: Solar + HiTHIUM Battery

Prepared by Tazwar Mahtab Founder & CEO, Netso Energy March 2025 ¦ CONFIDENTIAL

# EXECUTIVE SUMMARY

Netso Energy is a Rooftop Solar RESCO (Renewable Energy Service Company) operating on an OPEX model. Netso finances, owns, and operates rooftop solar systems on customer buildings. Customers pay a below-grid per-unit tariff with zero upfront cost. Netso generates recurring monthly revenue over a 10–15 year contract term.

What This Report Covers

This model analyses a single deployment on a 6-storey, 12-apartment residential building in Chittagong with a monthly electricity bill of BDT 40,000–60,000. Two scenarios are stress-tested: solar only (Scenario A) and solar plus HiTHIUM MaxPower 16 battery storage (Scenario B).

| Recommended System Size 22 kW |  | Netso Monthly Profit (Loan) BDT 9,502 |
| --- | --- | --- |
| Monthly Revenue to Netso BDT 22,638 |  | Netso Monthly Profit (Yr 11+) BDT 21,721 |
| Customer Monthly Saving BDT 7,350+ |  | Your Equity Required BDT 275,132 |

Bottom Line The model works. Customer saves BDT 7,350/month from day one with zero upfront cost. Netso earns BDT 9,502/month net profit per building during the IDCOL loan period. After loan repayment in year 10, monthly profit jumps to BDT 21,721 — nearly 2.3x — creating the primary wealth-building event.

# 1. BUILDING BASELINE & CONSUMPTION

Before sizing the system, we establish the building's consumption profile by reverse-engineering from the monthly bill.

## 1.1 Building Profile

| Parameter | Value |
| --- | --- |
| Building Type | 6-storey residential |
| Number of Apartments | ~12 units |
| Location | Chittagong, Bangladesh |
| Monthly Electricity Bill | BDT 40,000 – 60,000 (modelled at BDT 50,000) |
| BPDB Tariff Category | LT-A Residential |
| Estimated Total Consumption | 5,000 kWh/month |
| Avg. Effective Rate (incl. VAT) | ~BDT 10.00/kWh blended |

## 1.2 BERC Official Tariff Slabs (LT-A Residential)

The following are the official BERC-approved residential tariff slabs. A 12-apartment building with high consumption regularly falls into the upper slabs, making the solar savings case very compelling.

| Consumption Slab | Rate (BDT/kWh) | Relevance to This Building |
| --- | --- | --- |
| 0 – 75 units | 5.26 | Minimal — covered in first hours of day |
| 76 – 200 units | 7.20 | Partial |
| 201 – 300 units | 7.59 | Partial |
| 301 – 400 units | 8.02 | Active |
| 401 – 600 units | 12.67 | ★ High — building is here most months |
| 601+ units | 14.61 | ★★ Peak — this is your pricing headroom |
| Demand Charge | BDT 42/kVA | Fixed component |

Key Insight: Pricing Headroom The building's marginal grid rate is BDT 12.67–14.61/kWh. Netso charges BDT 7.00/kWh — a 45–52% discount. This is your sales pitch. The savings case is immediate and undeniable.

# 2. SOLAR RESOURCE — CHITTAGONG

| Season | Peak Sun Hours/Day | Monthly kWh per kWp |
| --- | --- | --- |
| Nov – Feb (Winter) | 5.8 – 6.2 hrs | 174 – 186 kWh/kWp |
| Mar – May (Pre-monsoon) | 5.0 – 5.5 hrs | 150 – 165 kWh/kWp |
| Jun – Sep (Monsoon) | 3.2 – 3.8 hrs | 96 – 114 kWh/kWp |
| Oct (Post-monsoon) | 4.5 – 5.0 hrs | 135 – 150 kWh/kWp |
| Annual Average | 4.9 hrs/day | ~147 kWh/kWp/month |

System Sizing Logic We size to maximise self-consumption, not total generation. Oversizing causes excessive export at low BPDB export rates (BDT 3.50–5.00/kWh), reducing ROI. Target: 75–85% of generation consumed directly. For 5,000 kWh/month consumption with ~50–60% occurring in daytime hours, the optimal system is 22 kW.

# 3. SYSTEM DESIGN & CAPITAL COST

## 3.1 Recommended System: 22 kW

| Sizing Scenario | Monthly Generation | Self-Consumed |
| --- | --- | --- |
| Conservative — 15 kW (30% offset) | 2,205 kWh | 1,985 kWh (90%) |
| ★ OPTIMAL — 22 kW (45% offset) | 3,234 kWh | 2,587 kWh (80%) |
| Aggressive — 30 kW (60% offset) | 4,410 kWh | 3,087 kWh (70%) |

## 3.2 Capital Expenditure Breakdown

| Component | Scenario A (Solar Only) | Scenario B (+ Battery) |
| --- | --- | --- |
| Solar Panels (22 kW @ BDT 43.5/W) | BDT 957,000 | BDT 957,000 |
| Inverter + Balance of System (20%) | BDT 191,400 | BDT 191,400 |
| Aluminium Racking + Mounting (10%) | BDT 95,700 | BDT 95,700 |
| Wiring + Installation Labour (8%) | BDT 76,560 | BDT 76,560 |
| Generation Meter + Net Meter | BDT 25,000 | BDT 25,000 |
| Commissioning + Miscellaneous | BDT 30,000 | BDT 30,000 |
| HiTHIUM MaxPower 16 (16 kWh, landed) | — | BDT 260,000 |
| TOTAL CAPEX | BDT 1,375,660 | BDT 1,635,660 |

## 3.3 IDCOL Financing Structure

| Financing Item | Scenario A | Scenario B |
| --- | --- | --- |
| CAPEX | BDT 1,375,660 | BDT 1,635,660 |
| IDCOL Loan (80%) | BDT 1,100,528 | BDT 1,308,528 |
| Your Equity Required (20%) | BDT 275,132 | BDT 327,132 |
| Interest Rate | 6% per annum | 6% per annum |
| Loan Tenure | 10 years | 10 years |
| Monthly EMI | BDT 12,219 | BDT 14,527 |

# 4. REVENUE MODEL & PRICING STRATEGY

Netso's revenue model is straightforward: charge the customer a fixed per-kWh rate on total system generation, metered at source. The customer keeps all net metering export credits from BPDB. This creates a clean, auditable, dispute-free billing relationship.

## 4.1 Pricing Rationale

| Rate Comparison | Per kWh (BDT) | Context |
| --- | --- | --- |
| Customer's current marginal grid rate | 12.67 – 14.61 | Upper slabs (LT-A) |
| Netso OPEX charge to customer | 7.00 | Fixed for contract term |
| Customer saving per kWh (solar units) | 5.67 – 7.61 | 45–52% discount |
| BPDB net metering export rate | 3.50 – 5.00 | Kept by customer (bonus) |
| Netso LCOE (validated) | 4.91 – 5.50 | Cost per kWh generated |
| Netso gross margin per kWh | 1.50 – 2.09 | Spread over LCOE |

## 4.2 Contract Protection Clause

Minimum Generation Payment Clause (Essential) The OPEX contract must include: Customer pays for a minimum of 85% of the system's rated monthly generation (2,749 kWh/month) regardless of actual consumption. This protects Netso's revenue floor at BDT 19,243/month minimum even if the building reduces consumption or installs energy-efficient appliances.

# 5. MONTHLY P&L — BOTH SCENARIOS

## 5.1 Generation & Consumption Flow

| Energy Flow Item | Scenario A (Solar Only) | Scenario B (+ Battery) |
| --- | --- | --- |
| Total Solar Generation/month | 3,234 kWh | 3,234 kWh |
| Directly Self-Consumed (Daytime) | 2,587 kWh (80%) | 2,340 kWh (72%) |
| Stored in Battery | — | 390 kWh |
| Battery Discharged at Night | — | 370 kWh (95% efficiency) |
| Total Self-Consumed (Direct + Battery) | 2,587 kWh | 2,710 kWh |
| Exported to Grid (Net Metered) | 647 kWh | 524 kWh |
| Remaining Grid Consumption | 2,413 kWh | 2,290 kWh |
| Grid Independence Achieved | 51.7% | 54.2% |

## 5.2 Customer Bill: Before vs. After

| Bill Component | Before Netso | Scenario A | Scenario B |
| --- | --- | --- | --- |
| Pays Netso (solar generation) | — | BDT 22,638 | BDT 22,638 |
| Pays BPDB (remaining grid units) | BDT 50,000 | BDT 22,924 | BDT 21,755 |
| Net Metering Credit from BPDB | — | (BDT 2,912) | (BDT 2,358) |
| TOTAL MONTHLY COST | BDT 50,000 | BDT 42,650 | BDT 42,035 |
| Monthly Saving | — | BDT 7,350 | BDT 7,965 |
| Saving % | — | 14.7% | 15.9% |

## 5.3 Netso Monthly Profit & Loss

| P&L Item | Scenario A (Solar Only) | Scenario B (+ Battery) |
| --- | --- | --- |
| Revenue from Customer | BDT 22,638 | BDT 22,638 |
| IDCOL EMI Repayment | (BDT 12,219) | (BDT 14,527) |
| O&M Cost (0.5% CAPEX/yr ÷ 12) | (BDT 573) | (BDT 681) |
| Insurance (0.3% CAPEX/yr ÷ 12) | (BDT 344) | (BDT 409) |
| NET MONTHLY PROFIT | BDT 9,502 | BDT 7,021 |
| Annual Profit | BDT 114,024 | BDT 84,252 |
| 10-Year Cumulative Profit | BDT 1,140,240 | BDT 842,520 |

# 6. POST-LOAN WINDFALL — YEAR 11 ONWARD

This is the most important section in the entire model. Once the IDCOL loan is repaid after year 10, the monthly cost structure collapses to O&M and insurance only. Revenue continues unchanged. Profit nearly triples.

| Phase | Scenario A | Scenario B |
| --- | --- | --- |
| Monthly Revenue (unchanged) | BDT 22,638 | BDT 22,638 |
| Monthly Costs (yr 11+: O&M + Insurance only) | BDT 917 | BDT 1,090 |
| MONTHLY PROFIT (YR 11+) | BDT 21,721 | BDT 21,548 |
| ANNUAL PROFIT (YR 11+) | BDT 260,652 | BDT 258,576 |
| Increase vs. Loan Period | +128.6% | +207.0% |

The Wealth-Building Event Year 10 is the inflection point. IDCOL is repaid. The system is fully paid off. For the remaining 5–10 years of the contract, Netso collects BDT 21,721/month per building in near-passive profit. Across 5 buildings, this is BDT 108,605/month (BDT 1.3M/year) in recurring income with minimal overhead. This is the real reason to deploy fast and build the portfolio now.

# 7. HEAD-TO-HEAD SCENARIO COMPARISON

| Metric | Scenario A: Solar Only ★ | Scenario B: + HiTHIUM Battery |
| --- | --- | --- |
| System CAPEX | BDT 1,375,660 | BDT 1,635,660 |
| Your Equity Required | BDT 275,132 | BDT 327,132 |
| Monthly Revenue | BDT 22,638 | BDT 22,638 |
| Monthly Profit (Loan Period) | BDT 9,502 ★ | BDT 7,021 |
| Monthly Profit (Yr 11+) | BDT 21,721 | BDT 21,548 |
| Annual Profit (Loan Period) | BDT 114,024 ★ | BDT 84,252 |
| Customer Monthly Saving | BDT 7,350 | BDT 7,965 ★ |
| Grid Independence | 51.7% | 54.2% ★ |
| Equity Payback Period | 28 months ★ | 46 months |
| 10-Yr Cumulative Profit | BDT 1,140,240 ★ | BDT 842,520 |
| Installation Complexity | Low ★ | Medium |
| RECOMMENDATION | DEPLOY NOW (Deals 1–3) | Deploy from Deal 4+ |

# 8. PORTFOLIO SCALING — WHAT 5 BUILDINGS LOOKS LIKE

The OPEX model is designed to be replicated rapidly. Each building is an independent IDCOL-financed project. The more buildings deployed, the stronger the portfolio cash flow — even while individual loans are still being repaid.

| Metric | 1 Building | 2 Buildings | 3 Buildings | 5 Buildings |
| --- | --- | --- | --- | --- |
| Monthly Revenue | 22,638 | 45,276 | 67,914 | 113,190 |
| Monthly Profit (Loan) | 9,502 | 19,004 | 28,506 | 47,510 |
| Monthly Profit (Yr 11+) | 21,721 | 43,442 | 65,163 | 108,605 |
| Annual Revenue | 271,656 | 543,312 | 814,968 | 1,358,280 |
| Equity Needed (Total) | 275,132 | 550,264 | 825,396 | 1,375,660 |
| Customers Benefited | 12 apts | 24 apts | 36 apts | 60 apts |

Path to BDT 1M/Year Revenue 4 buildings at scale = BDT 1.08M annual revenue during loan period. 5 buildings post-loan = BDT 1.3M/year near-passive. Each building requires BDT 275,132 in equity — totalling BDT 1.375M for 5 buildings. The IDCOL loan does the heavy lifting on each project.

# 9. STRATEGIC RECOMMENDATIONS

## 9.1 Immediate Actions (This Week)

- Call every warm residential contact. Confirm 3 site visits.

- Visit each rooftop: photograph, measure, collect 3 months of electricity bills.

- Request 3 hardware quotes from Dhaka suppliers for a 22 kW system.

- Prepare a 1-page proposal per building: current bill vs. Netso OPEX charge.

- Target one signed LOI within 14 days.

## 9.2 Pricing & Contract Rules

- Always charge BDT 7.00/kWh — never less. You have massive headroom vs. the BDT 12.67–14.61 marginal grid rate.

- Include minimum generation clause: customer pays for 85% of rated monthly generation regardless of consumption.

- Give the customer all net metering credits — it costs you nothing and accelerates deal closure.

- Contract term: 12 years minimum. System transfer to customer at end of term.

## 9.3 Battery Strategy

- Deals 1–3: Solar only. Higher margin (BDT 9,502/month), faster equity payback (28 months), simpler installation.

- Deal 4 onward: Add HiTHIUM MaxPower 16 per building as cash flow from earlier deals funds part of the battery cost.

- Request a formal quote from HiTHIUM now (Bangladesh is listed as a supported region on their website).

- Sodium-ion batteries: revisit in 2027–2028 when CATL/BYD products reach Bangladesh distributors at scale.

## 9.4 Financing Path

- IDCOL primary: 80% debt at 6% over 10 years. Submit pre-qualification immediately with your SREDA registration.

- Parallel: approach BRAC Bank and Dutch-Bangla Bank SME green energy products as backup.

- Supplier credit: negotiate 30–50% upfront, balance on commissioning with your hardware supplier.

- Your equity per building: BDT 275,132 (~$2,300 USD). Each deal is self-contained.

# 10. KEY RISKS & MITIGATIONS

| Risk | Impact | Mitigation |
| --- | --- | --- |
| Customer reduces consumption over time | Your revenue/kWh stays same but their savings shrink — deal looks worse | Minimum generation payment clause in contract |
| BPDB tariff decreases | Your BDT 7.00/kWh offer less attractive | Lock tariff discount % not absolute rate in contract |
| IDCOL application delayed | Capital stuck, deal stalls | Parallel bank application from day 1 |
| Net metering approval delay | Customer can't export surplus for months | Start with common-area-only system to avoid NEM dependency |
| Panel degradation over 10 years | ~0.5%/yr, reduces generation by ~5% by year 10 | Built into yield estimates; minor impact on revenue |
| 20-year contract enforcement in Bangladesh | High legal risk if customer defaults or disputes | Shorter 12-year term, strong LOI, physical ownership of system as collateral |

# FINAL VERDICT

| Monthly Revenue (per building) BDT 22,638 |  | Customer Saves Per Month BDT 7,350+ |
| --- | --- | --- |
| Monthly Profit During Loan BDT 9,502 |  | Your Equity Per Building BDT 275,132 |
| Monthly Profit After Loan (Yr 11) BDT 21,721 |  | Equity Payback Period 28 months |

The model is viable. The deal sells itself. A 6-storey Chittagong building owner pays BDT 50,000/month today. With Netso, they pay BDT 42,650. Zero upfront. System maintained by Netso. After 12 years the system is theirs for free. Netso earns BDT 9,502/month per building during the loan period — and BDT 21,721/month after the loan is repaid. The only remaining question is: who are you calling first?

NETSO ENERGY  |  netso.energy  |  Confidential — For Internal Use Only