NETSO ROOF SURVEY CHECKLIST

Technical Site Assessment | Solar PV System Design

1. BASIC INFORMATION

| Survey Date | _________________ | Survey Engineer | _________________ |
| --- | --- | --- | --- |
| Factory Name | _______________________________________________ |
| Factory Address | _______________________________________________ |
| Contact Person | _________________ | Phone | _________________ |
| Email | _______________________________________________ |
| DISCO | [ ] DESCO [ ] DPDC [ ] BREB [ ] Other: _____ |

2. ROOF SPECIFICATIONS

| Total Roof Area | _____________ sqft | Usable Area | _____________ sqft |
| --- | --- | --- | --- |
| Roof Type | [ ] RCC Flat [ ] Corrugated [ ] Truss [ ] Other: _____ |
| Roof Age | _____________ years | Condition | [ ] Excellent [ ] Good [ ] Fair [ ] Poor |
| Roof Load Capacity | _____________ kg/sqm | Structural Assessment | [ ] Pass [ ] Fail [ ] Needs Review |

Roof Section Measurements

| Section | Length (ft) | Width (ft) | Area (sqft) | Notes |
| --- | --- | --- | --- | --- |
| Section 1 |  |  |  |  |
| Section 2 |  |  |  |  |
| Section 3 |  |  |  |  |
| Section 4 |  |  |  |  |
| Section 5 |  |  |  |  |

3. SHADING ANALYSIS

| Shading Obstructions | [ ] Adjacent Buildings [ ] Water Tanks [ ] AC Units [ ] Trees [ ] None |
| --- | --- |
| Shading Hours (Morning) | _____________ hours | Shading Hours (Evening) | _____________ hours |
| Shading Impact | [ ] Minimal (<5%) [ ] Moderate (5-15%) [ ] Significant (>15%) |

Shading Sketch

Attach 360-degree photographs and shading analysis sketch. Use SunEye or equivalent tool for shade analysis.

SHADING SKETCH ATTACHED: [  ] Yes  [  ] No

4. ORIENTATION & TILT

| Roof Orientation | [ ] South [ ] SE [ ] SW [ ] East [ ] West [ ] Other: _____ |
| --- | --- |
| Roof Tilt Angle | _____________ degrees | Optimal Tilt | _____________ degrees (for Dhaka: 23-25 deg) |
| Tilt Adjustment Needed | [ ] Yes [ ] No | If Yes, Method | [ ] Tilted Structure [ ] Ballast [ ] Other |

5. ELECTRICAL INFRASTRUCTURE

| Main Incoming Voltage | [ ] 11kV [ ] 33kV [ ] Other: _____ | Transformer Capacity | _____________ kVA |
| --- | --- | --- | --- |
| Main DB Location | [ ] Ground Floor [ ] Roof [ ] Other: _____ | Distance to Roof | _____________ meters |
| Available Space in DB | [ ] Yes [ ] No [ ] Limited | If Limited, Notes | ________________________ |
| Net Meter Ready | [ ] Yes [ ] No | DISCO Approval Status | [ ] Approved [ ] Pending [ ] Not Applied |

Cable Routing Assessment

| Cable Route Identified | [ ] Yes [ ] No | Route Length (est.) | _____________ meters |
| --- | --- | --- | --- |
| Conduit Required | [ ] Surface [ ] Recessed [ ] Cable Tray [ ] Other |
| Obstacles on Route | _______________________________________________ |

6. ENVIRONMENTAL FACTORS

| Dust/Smog Level | [ ] Low [ ] Moderate [ ] High [ ] Severe | Cleaning Access | [ ] Easy [ ] Moderate [ ] Difficult |
| --- | --- | --- | --- |
| Salt Exposure | [ ] Yes (within 5km of coast) [ ] No |
| Wind Speed Zone | [ ] Low [ ] Moderate [ ] High | Cyclone Risk | [ ] Low [ ] Moderate [ ] High |
| Temperature Range | Min: _____ degC Max: _____ degC | Humidity | [ ] Low [ ] Moderate [ ] High |

7. ACCESS & SAFETY

| Roof Access Method | [ ] Staircase [ ] Ladder [ ] Hoist [ ] Other: _____ | Access Width | _____________ meters |
| --- | --- | --- | --- |
| Material Hoisting Point | [ ] Available [ ] Not Available | If Yes, Capacity | _____________ kg |
| Safety Equipment Available | [ ] Harness Points [ ] Guard Rails [ ] None |
| Working Hours Allowed | [ ] 24/7 [ ] Day Only [ ] Specific: _____________ |

8. SYSTEM SIZING CALCULATION

| Usable Roof Area | _____________ sqft |
| --- | --- |
| Panel Wattage (selected) | _____________ Wp (e.g., 550W, 720W) |
| Panel Dimensions | _____________ m x _____________ m |
| Panel Area | _____________ sqm/panel |
| Usable Area Factor | _____________ % (typically 70-80%) |
| Estimated Panel Count | _____________ panels |
| Estimated System Size | _____________ kWp |
| Specific Yield (Dhaka) | 1,450 kWh/kWp/year |
| Estimated Annual Generation | _____________ kWh/year |
| Performance Ratio (estimated) | _____________ % (typically 80-82%) |

9. EQUIPMENT PLACEMENT

| Inverter Location | [ ] Roof [ ] Ground Floor [ ] Other: _____ | Distance to Panels | _____________ meters |
| --- | --- | --- | --- |
| Inverter Environment | [ ] Weather-protected [ ] Requires Enclosure |
| ACDB Location | [ ] With Inverter [ ] Separate [ ] Other: _____ |
| DCDB Location | [ ] With Inverter [ ] Separate [ ] Other: _____ |

10. PHOTOGRAPHIC DOCUMENTATION

| Required Photo | Taken [ ] | Photo ID/Ref |
| --- | --- | --- |
| Overall roof view (wide angle) | [ ] |  |
| Roof sections (each area) | [ ] |  |
| Shading obstructions (all directions) | [ ] |  |
| Electrical room / Main DB | [ ] |  |
| Cable routing path | [ ] |  |
| Inverter proposed location | [ ] |  |
| Roof access (stairs/ladder) | [ ] |  |
| Material hoisting point | [ ] |  |
| Surrounding buildings (for shading) | [ ] |  |
| Close-up of roof condition | [ ] |  |

11. SITE SURVEYOR ASSESSMENT

| Site Suitability | [ ] Excellent [ ] Good [ ] Fair [ ] Poor [ ] Not Suitable |
| --- | --- |
| Estimated System Size | _____________ kWp | Estimated Annual Generation | _____________ kWh |
| Key Risks Identified | _______________________________________________ |
| Additional Requirements | _______________________________________________ |

12. SIGN-OFF

| Site Surveyor | Factory Representative |
| --- | --- |
| Name: | Name: |
| Signature: | Signature: |
| Date: | Date: |

LEGEND

| ✓ Pass: No issues identified | ⚠ Warning: Issues manageable with mitigation | ✗ Fail: Critical issue - site not suitable |
| --- | --- | --- |